## Slide 1: Acknowledgement Internet Images, available in Public Domain, have been used in many Slides of this Presentation. Some of the Images have also been Modified/Superimposed. Used only for Academic Purpose/Understanding.
Lecture-8
Takeaways :
Concept of Frequency Response & Introduction to Bode Plots
Understanding Bode Magnitude Plots for Obtaining Corner Frequencies of Dynamical Systems
Relating Rise Time & Bandwidth for Appropriate Sensor Selection based on Process Dynamics
Discretization for Digital Control --- Introduction to the Concept of z-transforms
Introduction to State Space Framework

## Slide 2
Review of Steady State Error
System Type --- No. of Free Poles / Integrators

## Slide 3
Conceptualizing Frequency Response
By the term frequency response, we mean the steady-state response of a system to a sinusoidal input.
In frequency-response methods, we vary the frequency of the input signal over a certain range and study the resulting response

## Slide 4
Frequency Response on Field Equipment
Frequency
Amplitude

## Slide 5
The Frequency Domain

## Slide 6
Using Bode Plots

## Slide 7
Sensor Selection for Steady State Monitoring & Transient Monitoring

## Slide 8
Relating Bode Plots with Damping Factor

## Slide 9
Growth of Digital Controls

## Slide 10
Hold at Sampling Instants

## Slide 11
Sampling the Control Loop

## Slide 12
Sampling the Control Loop : The Z-Transforms

## Slide 13
Casting the Problem in s-domain and then converting to z-domain

## Slide 14
Z-Transforms

## Slide 15
Limitations of the Transfer Function Approach for
Multi Variable Problem Solving

## Slide 16: Visualizing the State Space Framework
Any Dynamic System comprises of internal variables, termed as States
No. of States,
Same as Order
of the System
--- effectively the
Number of Energy
Storing Elements
in the System
Knowledge of the
Position & Dynamics
of the States, may
Completely define the
System Dynamics
x
x
x
x
x
x
States
The Abstract Boundary of the Dynamic System
Similar to Molecules in Newtonian Mechanics

## Slide 17: The Concept of State Transfer
Input Space
U
X(0)
X(1)
State Space
Time Driven
State Transfer
Observation
Space
Y