## Slide 1: Acknowledgement Internet Images, available in Public Domain, have been used in many Slides of this Presentation. Some of the Images have also been Modified/Superimposed. Used only for Academic Purpose/Understanding.
Lecture-6
Takeaways :
The Transfer Function Concept and a System Theoretic Overview
The Concept of Feedback and Closed Loop Dynamical Systems
Understanding Transient Characteristics of Dynamical Systems
Determining Time Constants of Systems & Equipment, as a Maintenance Management Tool
Understanding System Type (from Transfer Functions) and Steady State Errors
Discretization for Digital Control --- Introduction to the Concept of z-transforms

## Slide 2
Dashpot
Back-pressure from Hydraulics
Visualizing Simulation Model Concepts

## Slide 3
HEX
ODE/PDE Models
Transfer Fn. Models
Sea Water Pump
2nd order ODE
Transfer Fn.
Characteristics
Response
Three Way Valve
Controller for Three-way Valve
Controller for Sea Water Pump
Sea Water IN
First Order ODEs
Second Order ODEs
First Order Transfer Fn.
Second Order Transfer Fn.
Integrators
Differentiators
Transform Operators
Typical Simulation Model Approach
Numerical Solvers

## Slide 4
Building a Transfer Function

## Slide 5
Differential Equations to Transfer Functions
Electro-Pneumatic Converter
Electrical Signal

## Slide 6
Understanding Systems as a Control Paradigm

## Slide 7
Understanding Block Diagrams

## Slide 8
The Concept of Feedback

## Slide 9
How to Analyse Feedback Loops --- The Transfer Function Approach

## Slide 10
Transient Characteristics
Steady State
Errors
Performance Specifications
Stability
System Behaviour
Understanding System Behaviour

## Slide 11
The Order of Systems

## Slide 12
Second Order Systems

## Slide 13
Determining Time Constants of Systems & Equipment